## Dic. 2007 W Sorghum Clumps
Spreadsheet tab | Element or value display name | Description | Data type | Character length | Acceptable values | Required? | Accepts null value?
2007 W Sorghum Clumps | Date | Date in yyyy-mm-dd format | date - yyyy-mm-dd | 10 |  | Yes | No
2007 W Sorghum Clumps | Year | Year | yyyy | 4 |  | Yes | No
2007 W Sorghum Clumps | DOY | Serial day of the year beginning with 1 for January 1. | integer | 1 to 3 | 1 to 366 | Yes | No
2007 W Sorghum Clumps | Action/Activity | Description of actions and activities on lysimeters and lysimeter fields. May include weather effects, tillage and tillage methods, planting dates and methods, cultivar description and growth stages, chemical and pesticide application, fertilization details, irrigation dates and methods, lysimeter maintenance, emptying of drainage tanks, and other activities affecting the crop and operation of the lysimeters and irrigation systems. The irrigation system was equipped with gooseneck fittings and spray heads (Nelson D3000 with medium grooved black spray plates) on drops located about 1.5 m above the ground and 1.52 m apart . The drops could be converted to LEPA (low energy precision application) heads placed about 0.3 m above the ground. Fertilizer designation represents (%Nitrogen: % Phosphorus:% Potassium). | text |  |  | Yes | No

## 2007 W Sorghum Clumps
Date | Year | DOY | Action/Activity
2007-01-12 | 2007 | 12 | Ice storm began
2007-01-13 | 2007 | 13 | Ice and light snow
2007-01-14 | 2007 | 14 | Snow cover
2007-01-16 | 2007 | 16 | Snow beginning to melt
2007-01-17 | 2007 | 17 | Electrical power problems
2007-01-20 | 2007 | 20 | ~200 mm of snow
2007-01-25 | 2007 | 25 | Snow cover beginning to melt
2007-02-01 | 2007 | 32 | ~12.7mm of snow, ground covered
2007-03-01 | 2007 | 60 | Plowed field with tandem disk
2007-03-05 | 2007 | 64 | Plowed field with tandem disk
2007-03-07 | 2007 | 66 | replaced rubber diaphragm on both lysimeters
2007-03-14 | 2007 | 73 | Took soil samples
2007-03-26 | 2007 | 85 | ~76mm total precipitation measured in manual raingauge at weather station
2007-04-06 | 2007 | 96 | Missing data on DOY 96 through 104
2007-04-12 | 2007 | 102 | Plowed field with tandem disk
2007-04-14 | 2007 | 104 | 25 to 76 mm of snow, melting by noon
2007-04-16 | 2007 | 106 | Discovered lots of bad data from last week
2007-04-26 | 2007 | 116 | Applied 168 kg N/ha fertilizer
2007-05-07 | 2007 | 127 | Hand tillage done on NW and SW lysimeters
2007-05-09 | 2007 | 129 | Extending wires for SW lysimeter instrumentation
2007-05-10 | 2007 | 130 | Applied Bicep at 2.1 quart/acre (4.9 liters/ha, 1.6 kg active ingredient/ha Atrazine and1.9 kg active ingredient/ha Metolachlor) and 1 qt/acre Roundup (2.34 l/ha, 1.12 kg a.i./ha). Bicep Active Ingredients: Atrazine*: 2-chloro-4-ethylamino- 6-isopropylamino-·s-triazine...... 27.4% or 2.67 lbs/gallon (320 g/L), Metolachlor: 2-Chloro-N-(2-ethyl-6-methyl-phenyl)-N-(1-methoxypropan-2-yl)acetamide....35.6% or 3.23lbs/gallon (387 g/L), Roundup Original active ingredient: Glyphosate, N-(phosphonomethyl)glycine, in the form of its isopropylamine salt . . 41.0% or 4 lbs/gal (480g/L)
2007-05-10 | 2007 | 130 | Buried NW and SW lysimeter below-ground instruments
2007-05-11 | 2007 | 131 | Wired in NW lysimeter below-ground instruments
2007-05-14 | 2007 | 134 | Wired in rest of NW and SW lysimeter below-ground instruments. Having problems with one SW lysimeter heat flux plate and one soil thermocouple
2007-05-16 | 2007 | 136 | Added reflected PAR and 1 TPAR instrument to west boxes. Fixed 2 heat flux plate problems on SW.
2007-05-17 | 2007 | 137 | Fixed data sign problems in SW lysimeter data
2007-05-21 | 2007 | 141 | Continued working on NW and SW lysimeter below-ground instrumentation. Having difficulty with PAR bars
2007-05-22 | 2007 | 142 | Continued PAR bar wiring and began adding other instrumentation
2007-05-25 | 2007 | 145 | Have continued wiring since 5/22/2007
2007-05-27 | 2007 | 147 | Inverted RPAR sensors
2007-06-04 | 2007 | 155 | SW raingauge not recording tips
2007-06-05 | 2007 | 156 | Changed NW lysimeter HMP45 air temperature and humidity sensor head. Cannot find SW lysimeter raingauge problem
2007-06-06 | 2007 | 157 | Planted Dekalb grain sorghum variety DK 39-Y at 61,780 seeds/ha on NW and SW fields and lysimeters. The NW field and lysimeter were planted in east-west rows with 0.762-m spacing. The SW field and lysimeter were planted to clumps. There were 16 clumps on the SW lysimeter. Clumps had 4 seeds per clump. Clumps were spaced 1.0 m from each other along the row. Rows were spaced 0.762-m apart.
2007-06-06 | 2007 | 157 | NW lysimeter RH and air temperature data still bad. Changed the sensor base.
2007-06-07 | 2007 | 158 | NW lysimeter air temperature and RH data seems good
2007-06-11 | 2007 | 162 | Changed NW lysimeter HMP45 sensor head again, temperature reading is bad
2007-06-13 | 2007 | 164 | Fixed NW lysimeter HMP45, and thermocouples that had problems
2007-06-18 | 2007 | 169 | Removed SW lysimeter raingauge.
2007-06-19 | 2007 | 170 | Installed new SW lysimeter raingauge. Worked on HMP45 sensor. Removed protective wire cages from planted rows on lysimeters.
2007-06-21 | 2007 | 172 | Thinned plants on and around lysimeter boxes to match field plant density
2007-06-22 | 2007 | 173 | Irrigation
2007-07-02 | 2007 | 183 | Installed neutron probe access tubes and took readings
2007-07-09 | 2007 | 190 | Applied 1 oz/acre Peak (16.25g/ac or 0.04 kg/ha). Peak Active Ingredient prosulfuron (ISO) >70% (0.57 lb prosulfuron per lb) or (260g/lb)
2007-07-12 | 2007 | 193 | Plants sampled.; Growth stage = 3 leaf; Vanderlip, R.l. and H. E. Reeves. Growth Stages of Sorghum (Sorghum bicolor, (L.) Moench. Agronomy Journal : 64 13-16)
2007-07-19 | 2007 | 200 | Neutron probe readings
2007-07-23 | 2007 | 204 | Plants sampled.; Growth stage = 8 leaf
2007-07-30 | 2007 | 211 | Neutron probe readings
2007-08-13 | 2007 | 225 | Neutron probe readings
2007-08-14 | 2007 | 226 | Plants sampled.; Growth stage = boot
2007-08-20 | 2007 | 232 | Did not collect data from NW lysimeter datalogger since Saturday, but after several tries, got it to respond
2007-08-22 | 2007 | 234 | Communication problems with west field. Forage may be tall enough to interfere with wireless ethernet signal
2007-08-27 | 2007 | 239 | Neutron probe readings
2007-09-04 | 2007 | 247 | Plants sampled.; Growth stage = soft dough
2007-10-03 | 2007 | 276 | Hand harvest sampling
2007-10-04 | 2007 | 277 | Harvested NW and SW fields with combine
2007-10-15 | 2007 | 288 | Some of plants cleaned up around lysimeter boxes
2007-10-25 | 2007 | 298 | Irrigation
2007-12-08 | 2007 | 342 | Ice storm began and continued for 2 more days
|  |  |  | float | 256 | Yes | #N/A
|  |  |  | float | 256 | Yes | #N/A
|  |  |  | float | 256 | Yes | #N/A
|  |  |  | float | 256 | Yes | #N/A
Formulas:
Date = DATE(2007,1,[DOY])